# vSphere Clean up procedure:

- Log in to vCenter server using FLEX client.

- Change “Automatic” disk selection to “manual” in vSAN configuration:

Navigate to cluster_name(mgmt_pod)>>configure>>vSAN>>General>>Edit

- From drop down menu, select manual and click OK. Wait for configuration changes to take place.

- Once set to manual navigate to “Disk Management”.

- From “Disk Management”, select “Disk group” and hit remove disk button as shown in snap.

- Select ‘No data evacuation’ and click ‘yes’. Repeat step 5 and 6 for each disk groups.

- After all disk groups are removed, turn off vSAN. And click OK.

- Turn off vSphere DRS.

- Turn off vSphere HA.

- Remove DVS networking setting:

  - DVS networking can be removed by re-installing ESXI OS

  - By restoring network setting.

Restore network setting:

Log in to iLO IRC and select “Network Restore Options” to clean up networkings. After this operation, management IP, DNS etc has to be done manually.

# Special case:

For some reason, if vCenter server is removed from ESXI, below procedure to be followed to clean up vSAN partitions.

Log in to each ESXI servers and perform following:

esxcli vsan cluster leave

for disk in $(esxcli vsan storage list | grep "Device:" | awk '{print $2}'); do for i in 1 2 3 4 5 6; do partedUtil delete /dev/disks/$disk $i;done;done

step2: if you get "read only" related error

-------------------------------------------

esxcli vsan storage list | grep "VSAN Disk Group UUID:" | tail -1 | awk '{print $5}' | xargs esxcli vsan storage remove -u